## Sheet1
Contrast for Dynamic step wedge
Step | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Dynamic | 16 | 11.3 | 8 | 5.66 | 4 | 2.83 | 2 | 1.41 | 1 | 1/1,41 | 1/2,00 | 1/2,83 | 1/4,00 | 1/5,66 | 1/8,00 | 1/11,3 | 1/16
Contrasts of Detail contrast objects
# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Contrasts | 0.9% | 1.3% | 1.8% | 2.8% | 4% | 5.6% | 8% | 9.4%
At used tube voltage of 75 kV and when using a 25 mm thick attenuation body of aluminium, the following values for the CONTRAST of the individual step wedge & detail contrast fields are obtained, based on the reference step #9
Kontraste der Dynamikstufen
Step | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Dynamic | 16 | 11.3 | 8 | 5.66 | 4 | 2.83 | 2 | 1.41 | 1 | 1/1,41 | 1/2,00 | 1/2,83 | 1/4,00 | 1/5,66 | 1/8,00 | 1/11,3 | 1/16
Kontraste der Detail Kontrast Objekte
# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Contrasts | 0.9% | 1.3% | 1.8% | 2.8% | 4% | 5.6% | 8% | 9.4%
Bei 75 kV and und Verwendung eines 25 mm dicken Schwächungskörper aus Aluminium. Die Kontrastwerte beziehen sich auf die Referenzstufe #9